## instrucciones, notas e imagenes
Instrucciones
1- Ingresar los datos de los patrones en la pestaña "datos patrones y mesurando", éstos son sumados automáticamente en el resto de la planilla.
2- Al correr el programa "leer archivos mea puente_v1-7.ipynb" de los datos son sumados automáticamente en las hojas "(número)".
3- En el sheet "resumen" elegir qué datos tomar para los promedios y desvíos, éstos serán automáticamente actualizados en el sheet "budget"
Notas

## datos patrones y mesurando
Patrón de resistencia
100 Ω Fluke Mod. 742A-100 S/N 7576001
Valor nominal [Ω] | 100
a (20 °C) | 4e-08 | 1/K
b (20 °C) | -2.6e-08 | 1/K2
drift | 0.152 | μΩ/(Ω año)
U drift | 0
Temp ref | 23 | C
ÚLTIMO VALOR MEDIDO
Fecha | R (23 ºC) ohm | Incert. Total uohm/ohm | Dif. Val. Ant. mohm/ohm | Observaciones
2019-01-19 | 100 | 0.17 | 0.34 | transferencia QHE INTI
Mesurando
100 Ω Fluke Mod. 742A-100 S/N 7576001
Valor nominal [Ω] | 100
a (20 °C) | 4e-08 | 1/K
b (20 °C) | -2.6e-08 | 1/K2
drift | 0.152 | μΩ/(Ω año)
U drift | 0
Temp ref | 23 | C
ÚLTIMO VALOR MEDIDO
Fecha | R (23 ºC) ohm | Incert. Total uohm/ohm | Dif. Val. Ant. mohm/ohm | Observaciones
2019-01-19 | 100 | 0.17 | 0.34 | transferencia QHE INTI
Patrón temperatura ambiente
Patrón temperatura baño

## budget
BALANCE DE INCERTIDUMBRES
Procedimiento: | PEE XX - DCCB + RE
Calibración de: | -
Corriente de calibración | 0 | A
Fuente de incertidumbre | Símbolo | Valor |  | Tipo | Distrib | Intervalo (±) |  | Factor | ui |  | ni | ci |  | (ciui)2 | W-S | % contrib
Calibración del patrón | Rs(To) | 99.9978 | Ω | BN | N | 1.7e-05 | Ω | 2 | 8.4998e-06 | Ω | 5000 | 0 | Ω/K | 0 | 0 | #REF!
Temperatura Rs | ts | 0.024675 | K | BR | R | 0.004 | K | 1.7321 | 0.0023094 | K | 5000 | 0 | Ω/K | 0 | 0 | #REF!
Temperatura Rx | tx | 0.024675 | K | BR | R | 0.004 | K | 1.7321 | 0.0023094 | K | 5000 | 0 | Ω/K | 0 | 0 | #REF!
γ (DCCB+RE) | gamma | 0 |  | BR | R | #REF! |  | 1.7321 | #REF! |  | 5000 | 100.0001 |  | #REF! | #REF! | #REF!
Tipo A |  |  |  | A | N |  |  | 0 | #REF! | Ω | 0 | 1 |  | #REF! | 0 | #REF!
| Rx (20) | #REF! | Ω |  | N | #REF! | Ω | #REF! | #REF! | Ω | #REF! |  |  |  |  | #REF!
| Rx (20)= | #REF! | Ω | ± | #REF! | μΩ/Ω
"La incertidumbre de medición expandida informada fue calculada multiplicando
#REF!
corresponde a un nivel aproximado de confianza del 95% para una distribución
#REF!
Modelo y coeficientes
|  |  |  | coef | valor
|  |  |  | cγ | 100.0001
|  |  |  | c_Rx(To) | 0
|  |  |  | c_ts | 0
|  |  |  | c_tx | 0
|  |  |  | c_Dx | -0.15
|  |  |  | c_Ds | -150.0001
|  |  |  | c_Rso | 0.99998
|  |  |  | c_Ds | -150.0001
|  |  |  | variable | valor
|  |  |  | d | 2017-07-14
|  |  |  | gamma | 0
|  |  |  | R_x(To) (ohm) | 0
|  |  |  | R_xo (ohm) | 0.1
|  |  |  | alpha_x (1/K) | 4e-08
|  |  |  | beta_x (1/K^2) | -2.6e-08
|  |  |  | R_x(tx) (ohm) | 0
|  |  |  | d - d_cal x | -18
|  |  |  | Dx (ohm/año) | 1.52e-08
|  |  |  | t_x (K) | 0.024675
|  |  |  | R_s(To) (ohm) | 99.9978
|  |  |  | R_so (ohm) | 100
|  |  |  | alpha_s (1/K) | 9.77e-06
|  |  |  | beta_s (1/K^2) | -4.8e-07
|  |  |  | R_s(ts) (ohm) | 100.0001
|  |  |  | d - d_cal s | -18
|  |  |  | Ds (ohm/año) | 1.52e-05
|  |  |  | t_s (K) | 0.024675
incert standard
|  |  |  | u_Rx(To) (ohm) | 1.7e-05
Rx
|  |  |  | Fecha | R (20 °C) [Ω] | U [μΩ/Ω] | Diff [μΩ/Ω] | T [°C] | Obs | a (20 °C) (1/K) | b (20 °C) (1/K) | drift (uohm/ohm / año) | U_drift (uohm/ohm / año)
|  |  |  | 2019-01-19 | 100 | 0.17 | 0.34 | 0 | transferencia QHE INTI | 4e-08 | -2.6e-08 | 0.152 | 0
Rs
|  |  |  | Fecha | R(20 °C) (Ω) | U [μΩ/Ω] | Diff [μΩ/Ω] | Observaciones | Nombre del resistor | a (20 °C) (1/K) | b (20 °C) (1/K) | drift (uohm/ohm / año) | U_drift (uohm/ohm / año)
|  |  |  | 2019-01-19 | 100 | 0.17 | 0.34 | transferencia QHE INTI | 100 Ω Fluke Mod. 742A-100 S/N 7576001 | 9.77e-06 | -4.8e-07 | 0.152 | 0

## resume
|  | Rx | [10 empty] | Fits90 | 100 Ω Fluke Mod. 742A-100 S/N 7576001
|  | Fecha | R (20 °C) [Ω] | U [μΩ/Ω] | Diff [μΩ/Ω] | T [°C] | Obs | a (20 °C) (1/K) | b (20 °C) (1/K) | drift (uohm/ohm / año) | U_drift (uohm/ohm / año) |  | 2010
|  | 2019-01-19 | 100 | 0.17 | 0.34 |  | transferencia QHE INTI | 4e-08 | -2.6e-08 | 0.152 | 0 |  |  | Valor nominal [Ω] | 100
|  | Rs | [11 empty] | a (20 °C) | 4e-08 | 1/K
|  | Fecha | R(20 °C) (Ω) | U [μΩ/Ω] | Diff [μΩ/Ω] | Observaciones | Nombre del resistor | a (20 °C) (1/K) | b (20 °C) (1/K) | drift (uohm/ohm / año) | U_drift (uohm/ohm / año) |  |  | b (20 °C) | -2.6e-08 | 1/K2
|  | 2019-01-19 | 100 | 0.17 | 0.34 | transferencia QHE INTI | 100 Ω Fluke Mod. 742A-100 S/N 7576001 | 9.77e-06 | -4.8e-07 | 0.152 | 0 |  |  | drift | 0.152 | μΩ/(Ω año)
[14 empty] | U drift | 0
ÚLTIMO VALOR MEDIDO
[14 empty] | Fecha | R (23 ºC) ohm | Incert. Total uohm/ohm | Dif. Val. Ant. mohm/ohm | Observaciones
|  | !C14 | !o23 | !P23 | !C15 | !C17 |  | !C23 | !F4 | !r15 |  |  |  | 2019-01-19 | 100 | 0.17 | 0.34 | transferencia QHE INTI
|  | Fecha | Rx (ohm) | STD (uohm/ohm) | Temperatura ambiente (°C) | Humedad (%) | diferencia ultima cal (uohm/ohm) | I (A) | Ratio Uncertainty [95%](ppm): | Temperatura baño - 20 °C (°C) | Rx(20 °C) (ohm)
0 | (0) | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | 0.024675 | 0 | average (ohm) | #REF!
1 | (1) | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | std (uohm/ohm) | #REF!
2 | (2) | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Rx(20 °C) (ohm) | #REF!
3 | (3) | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
4 | (4) | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
5 | (5) | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
6 | (6) | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
7 | (7) | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
8 | (8) | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
9 | (9) | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
10 | (10) | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
11 | (11) | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
12 | (12) | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
13 | (13) | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
14 | (14) | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
15 | (15) | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16 | (16) | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
17 | (17) | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
18 | (18) | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
19 | (19) | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
20 | (20) | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
21 | (21) | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
22 | (22) | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
23 | (23) | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
24 | (24) | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
25 | (25) | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
26 | (26) | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
27 | (27) | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
28 | (28) | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
29 | (29) | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
30 | (30) | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
31 | (31) | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!

## (0)
| MI 6010SW Software - Version 1.8.4 | [7 empty] | filename | 20170803_0827_100 uohm (797) - 100 mohm (539).mea
Measurement Report
6010 S/N: |  |  | Ratio: | [5 empty] | Rx
Scanner #1 S/N: |  |  | Ratio Uncertainty [95%](ppm): | [5 empty] | Ultima Calibración
Sc #1 4220-1R S/N: |  |  | Resistance (Ohms): | [5 empty] | Fecha | R (20 °C) [Ω] | U [μΩ/Ω] | Diff [μΩ/Ω] | T [°C] | Obs | a (20 °C) (1/K) | b (20 °C) (1/K) | drift (uohm/ohm / año) | U_drift (uohm/ohm / año)
Scanner #2 S/N: |  |  | Temperature (C): | [5 empty] | 2019-01-19 | 100 | 0.17 | 0.34 | 0 | transferencia QHE INTI | 4e-08 | -2.6e-08 | 0.152 | 0
Sc #2 4220-1R S/N: |  |  | Resistance Uncertainty [95%](ppm): | [5 empty] | Rs
6011 S/N: |  |  | Temperature - Rs(C) & Diff: | [5 empty] | Fecha | R(20 °C) (Ω) | U [μΩ/Ω] | Diff [μΩ/Ω] | Observaciones | Nombre del resistor | a (20 °C) (1/K) | b (20 °C) (1/K) | drift (uohm/ohm / año) | U_drift (uohm/ohm / año)
P.S. S/N: |  |  | Temperature - Rx(C) & Diff: | [5 empty] | 2019-01-19 | 100 | 0.17 | 0.34 | transferencia QHE INTI | 100 Ω Fluke Mod. 742A-100 S/N 7576001 | 9.77e-06 | -4.8e-07 | 0.152 | 0
Extender S/N: |  |  | Adjusted Resistance (Ohms): | [5 empty] | Ratio puete (*) | 1
Switch S/N: |  |  | Adjusted Uncertainty [95%](ppm): | [5 empty] | (*) depende de la proporción de resistencia
Chub-E4 S/N: |  |  | Chub-E4 Average (C): | [5 empty] | NOTA: en todos los casos los valores indicados en la sección inicial del archivo B3:C81 indican valores no necesariamente correctos de los resistores.
FLUKE 5700A S/N: |  |  | Chub-E4 Uncertainty [95%](ppm): | [5 empty] | Se realiza la cuenta en la hoja de cálculo no se le deja hacer la cuenta al programa.
Start Time: |  |  | End Time: | [5 empty] | Temperatura ambiente
Temperature (C): | [8 empty] | R | 27.5668 | ohm | 20.0247 | C
Pressure (kPa): | [8 empty] | STD | 4.41e-05 | ohm | 0.00087159 | C
Humidity (% RH): | [8 empty] | N | 438
Bath Temperature (C): | [8 empty] | Instrumento | TRP 25 Rosemount
V Bath Temperature (C): | [8 empty] | Multímetro | Agilent 34420A
Program: | [8 empty] | fecha cal trp | 2010
Task:
Element: | [8 empty] | Rx (ohm) | STD (uohm/ohm)
Current (A): | [8 empty] | 0 | #DIV/0!
Settle Time (s): | [8 empty] | Para el promedio y el desvío se tomaron los puntos a partir de la medición 30 (estabilización)
Filter:
Measurements:
Statistics:
Rx As Standard:
Rs Designator:
Rs Cal. Value (Ohms):
Rs Actual Value (Ohms):
Rs Cal. Date:
Rs Drift (ppm):
Rs Uncertainty (ppm):
Rs Scanner Channel:
Rs Serial Number:
Rs ID Number:
Rs Auto Update:
Rs Max Current (A):
Rs Type:
Rs Model:
Rs Coeff Temp. (C):
Rs PRT Range:
Rs THERM/1K Designator:
Rs a:
Rs b:
Rs c:
Rs d:
Rs c1:
Rs c2:
Rs c3:
Rs c4:
Rs c5:
Rx Designator:
Rx Cal. Value (Ohms):
Rx Actual Value (Ohms):
Rx Cal. Date:
Rx Drift (ppm):
Rx Uncertainty (ppm):
Rx Scanner Channel:
Rx Serial Number:
Rx ID Number:
Rx Auto Update:
Rx Max Current (A):
Rx Type:
Rx Model:
Rx Coeff Temp. (C):
Rx PRT Range:
Rx THERM/1K Designator:
Rx a:
Rx b:
Rx c:
Rx d:
Rx c1:
Rx c2:
Rx c3:
Rx c4:
Rx c5:
# meas | RATIO == r | RESISTANCE | TIME | Rs(ts) | Rx = gamma*Rs | Rx-Rx(last cal) | Rx-Rx(last cal) (µΩ/Ω) | Avrg Rx (ohm) | STD Rx (ohm)
0 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
1 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
2 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
3 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
4 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
5 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
6 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
7 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
8 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
9 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
10 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
11 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
12 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
13 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
14 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
15 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
16 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
17 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
18 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
19 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
20 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
21 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
22 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
23 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
24 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
25 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
26 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
27 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
28 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
29 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
30 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
31 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
32 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
33 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
34 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
35 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
36 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
37 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
38 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
39 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
40 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
41 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
42 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
43 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
44 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
45 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
46 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
47 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
48 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
49 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
50 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
51 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
52 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
53 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
54 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
55 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
56 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
57 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
58 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
59 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
60 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
61 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
62 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
63 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
64 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
65 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
66 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
67 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
68 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
69 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
70 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
71 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
72 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
73 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
74 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
75 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
76 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
77 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
78 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
79 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
80 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
81 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
82 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
83 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
84 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
85 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
86 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
87 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
88 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
89 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
90 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
91 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
92 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
93 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
94 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
95 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
96 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
97 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
98 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
99 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
100 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
101 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
102 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
103 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
104 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
105 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
106 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
107 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
108 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
109 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
110 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
111 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
112 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
113 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
114 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
115 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
116 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
117 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
118 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
119 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
120 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
121 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
122 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
123 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
124 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
125 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
126 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
127 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
128 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
129 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
130 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
131 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
132 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
133 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
134 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
135 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
136 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
137 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
138 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
139 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
140 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
141 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
142 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
143 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
144 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
145 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
146 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
147 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
148 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
149 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
150 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
151 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
152 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
153 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
154 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
155 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
156 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
157 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
158 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
159 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
160 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
161 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
162 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
163 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
164 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
165 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
166 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
167 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
168 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
169 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
170 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
171 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
172 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
173 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
174 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
175 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
176 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
177 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
178 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
179 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
180 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
181 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
182 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
183 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
184 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
185 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
186 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
187 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
188 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
189 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
190 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
191 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
192 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
193 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
194 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
195 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
196 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
197 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
198 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
199 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
200 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
201 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
202 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
203 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
204 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
205 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
206 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
207 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
208 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
209 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
210 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
211 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
212 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
213 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
214 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
215 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
216 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
217 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
218 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
219 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
220 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
221 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
222 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
223 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
224 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
225 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
226 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
227 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
228 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
229 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
230 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
231 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
232 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
233 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
234 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
235 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
236 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
237 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
238 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
239 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
240 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
241 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
242 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
243 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
244 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
245 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
246 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
247 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
248 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
249 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
250 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
251 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
252 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
253 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
254 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
255 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
256 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
257 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
258 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
259 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
260 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
261 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
262 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
263 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
264 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
265 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
266 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
267 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
268 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
269 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
270 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
271 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
272 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
273 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
274 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
275 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
276 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
277 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
278 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
279 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
280 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
281 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
282 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
283 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
284 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
285 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
286 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
287 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
288 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
289 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
290 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
291 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
292 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
293 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
294 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
295 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
296 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
297 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
298 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
299 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
300 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
301 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
302 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
303 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
304 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
305 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
306 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
307 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
308 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
309 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
310 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
311 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
312 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
313 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
314 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
315 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
316 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
317 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
318 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
319 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
320 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
321 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
322 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
323 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
324 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
325 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
326 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
327 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
328 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
329 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
330 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
331 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
332 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
333 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
334 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
335 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
336 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
337 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
338 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
339 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
340 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
341 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
342 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
343 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
344 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
345 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
346 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
347 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
348 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
349 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
350 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
351 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
352 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
353 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
354 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
355 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
356 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
357 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
358 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
359 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
360 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
361 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
362 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
363 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
364 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
365 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
366 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
367 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
368 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
369 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
370 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
371 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
372 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
373 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
374 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
375 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
376 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
377 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
378 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
379 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
380 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
381 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
382 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
383 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
384 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
385 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
386 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
387 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
388 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
389 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
390 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
391 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
392 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
393 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
394 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
395 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
396 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
397 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
398 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
399 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
400 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
401 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
402 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
403 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
404 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
405 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
406 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
407 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
408 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
409 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
410 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
411 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
412 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
413 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
414 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
415 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0
416 |  |  |  | 100.0001 | 0 |  | -1000000 | 0 | 0